## Slide 1: Rack Mount Wood Board
Lafe Spietz
NIST
2024
MEMSDuino

## Slide 3: Slightly more than 2U Blank Rack Panel

## Slide 4: Drill bits to use
1/16” bit: pilot holes and holes for wood screws.
1/8” bit: through holes for 4-40 screws
7/32” for 10-32 thumb screw clearance holes
5/32” to mill out slot for 4 wire header cable

## Slide 5: 4”x24”x0.5” White Oak Boards
https://ocoochhardwoods.com/detail/?i=124wo

## Slide 6: Knurled Brass Thumb Screws to Mount in Panel
https://www.mcmaster.com/92421A645/

## Slide 7: Rack Mount Nuts
https://www.mouser.com/ProductDetail/Hammond-Manufacturing/1421NP25?qs=yc9RBI4tIALvGirsWAVfbg%3D%3D

## Slide 8: Wood screws
https://www.mcmaster.com/98685A540/

## Slide 9: 4-40 Brass screws and washers
https://www.mcmaster.com/93465A113/
https://www.mcmaster.com/92916A320/

## Slide 10: Cut board off at 19 inches

## Slide 11: Sand or file edges

## Slide 12: Print Templates And use for Hole Punches

## Slide 13: Punch hole locations with sharp object

## Slide 14: Drill pattern in center of board
1/8”
1/16”
1/16”

## Slide 15: Rack, nut and thumb screw detail

## Slide 17: Hand-drilled cutout for 4 pin connector

## Slide 18: Full assembly with Bud Box and 3d printed parts

## Slide 19: Custom Metal Box
Lafe Spietz
NIST
2024
MEMSDuino

## Slide 20
MEMSDuino
Abstract
This is a custom metal box which contains the relay board that connects 90 volts to selected pins on a Dsub connector in the lid. The base of the box is attached to a wood board by 4 screws, and the 90 volt boost board is attached to the inside by means of a bracket screwed to the box. This box fully encloses the 90 volts at room temperature for safety.

## Slide 21
MEMSDuino
X6
X4
X2
12V to 90 V Boost
HV-DCDC-bracket
¼” 4-40 screws
¾” 4-40 screws
#40 washers
Bud AN-1304-A Diecast Aluminum Box
7/32” 4-40 standoff
Rack Mount Wood Board

## Slide 22
MEMSDuino
Modify or buy already-modified AN-1304-A box as follows:

## Slide 23
MEMSDuino
Modify or buy already-modified AN-1304-A lid as follows:

## Slide 24
MEMSDuino
Screw DB25 Connector to lid using 7/32” 4-40 standoffs:

## Slide 25
MEMSDuino
Add polyimide tape to lid to prevent possible shorts

## Slide 26
MEMSDuino
Solder already-assembled DB25 relay circuit board to DB25 connector, adding some space deliberately along the pins

## Slide 27
X6
MEMSDuino
Use 4-40 screws to assemble the DCDC HV mounting bracket to the box, and the high voltage boost board to the bracket

## Slide 28
X4
MEMSDuino
Use ¾” 4-40 screws to attach the main box to the wood board, with washers for each screw:
Be sure to orient box so that hole for cables points towards Arduino.

## Slide 29
MEMSDuino
Assemble cables, matching red wire to lowest pin number on both ends, being careful to keep track of which 8 pin cable is which.

## Slide 30
MEMSDuino
Conclusions:
The captive circuit board is not ideal, and a better design might make this slightly mor modular. It would also be useful if someone were to get these made in some volume and sold fully machined.

## Slide 31: 5V to 90V Boost
Lafe Spietz
NIST
2024
MEMSDuino

## Slide 32: Bill of Materials
https://www.amazon.com/Voltage-Converter-Vintage-Indicator-80V-380V/dp/B09D93QNYK
https://www.amazon.com/DROK-Boost-Converter-Regulator-Length/dp/B09M3LMSS3/
https://www.amazon.com/ZYAMY-Dupont-Connector-Multicolor-Breadboard/dp/B0B8Z23NWX/
MEMSDuino

## Slide 33: Tools and Consumables
MEMSDuino

## Slide 34: 90 Volt to DB25 Relay Board Cable Assembly
MEMSDuino

## Slide 35: 5V to 12 V Cable Assembly
MEMSDuino

## Slide 36: Setting the voltage output to 90V
MEMSDuino

## Slide 37: Arduino UNO Shield Connection
5V to Boost
MEMSDuino

## Slide 38: 3D Printed Parts
Lafe Spietz
NIST
Summer 2024

## Slide 39: Full Set of Parts
front-panel-edge-bracket.STL
front-panel-center-bracket.STL
arduino-bracket.STL
HV-DCDC-bracket.STL

## Slide 40: Print times and filament masses
arduino-bracket.STL: 4 grams, 18 minutes, print 1
HV-DCDC-bracket.STL: 4 grams, 14 minutes, print 1
front-panel-center-bracket.STL: 1 gram/each, 7 minutes/each, print 2
front-panel-edge-bracket.STL: 4 grams/each 14 minutes/each, print 2
Total filament mass: 18 g
Total print time: 77 minutes

## Slide 42: 4-40 Thread Inserts
Insert with soldering iron, in a press if available

## Slide 43: DB25 Relay Circuit Baord
Lafe Spietz
NIST
2024
MEMSDuino

## Slide 44
MEMSDuino
Abstract
This board uses electromechanical relays to connect the 90 volt line with any of 20 pins on a DB25 (25 pin DSUB) board mount connector which is in the lid of the custom metal box. In the 9 way switch, 16 of these lines are actually used.

## Slide 45: Order Components
https://www.digikey.com/en/products/detail/comus-international/3570-1331-053/7497099
https://www.digikey.com/en/products/detail/yageo/RC1206FR-071ML/728388
MEMSDuino
1 Mohm resistor 1206 SMT package
5 V relay
https://www.digikey.com/en/products/detail/assmann-wsw-components/A-DF-25-PP-Z/1241794
DB 25 Board Mount Connector
https://www.amazon.com/Header-Lystaii-Pin-Connector-Electronic/dp/B06ZZN8L9S/
0.1” headers, 40 pin strips x1

## Slide 46: Order Circuit Boards
78.74 x 71.12 mm
(3.1 x 2.8 in) size
Black solder mask
White silkscreen
1.6mm FR4
https://github.com/lafefspietz/MEMSduino/raw/main/PCB_files/DB25-relay-HV-control-gerbers.zip
MEMSDuino
https://www.pcbway.com

## Slide 47: Assemble Kit
MEMSDuino

## Slide 48: Lift board up when soldering to increase clearance
MEMSDuino

## Slide 49: Assembly
MEMSDuino

## Slide 50
MEMSDuino

## Slide 51
MEMSDuino

## Slide 52: Adding polyimide tape to the lid
Prevent potential shorts
This must be assembled before the circuit board is soldered to the DB25 connector!
MEMSDuino

## Slide 53: Relay
https://www.digikey.com/en/products/detail/comus-international/3570-1331-053/7497099
MEMSDuino

## Slide 54
MEMSDuino
Conclusions:
The fact that the DB25 connector causes the whole board to be captive is not ideal. An improvement would be some kind of socket and cable alternative which can be unplugged. There are a number of ways this might be done.

## Slide 55: Arduino Shield Circuit Board
Lafe Spietz
NIST
2024
MEMSDuino

## Slide 56: Order Custom Circuit Boards
MEMSDuino
https://github.com/lafefspietz/MEMSduino/raw/main/PCB_files/arduino-to-headers-shield-gerbers.zip
71.12 x 53.34 mm (2.1” x 2.8”) size
Black solder mask
White silkscreen
1.6mm FR4
https://www.pcbway.com

## Slide 57
MEMSDuino
https://www.digikey.com/en/products/detail/rubycon/16PK1000MEFC10X12-5/3563556
https://www.digikey.com/en/products/detail/stackpole-electronics-inc/CF18JT330R/1741683
https://www.digikey.com/en/products/detail/stackpole-electronics-inc/RNF14FTD100K/1706591
https://www.amazon.com/Header-Lystaii-Pin-Connector-Electronic/dp/B06ZZN8L9S/
100 kOhm resistor x1
330 Ohm resistor x1
1000 uF Capacitor x1
0.1” headers, 40 pin strips x2

## Slide 58: Break off strips to correct lengths:
MEMSDuino

## Slide 59: Assembly
MEMSDuino

## Slide 60: 0.1” Header Cables: 8 pin, 6” long to connect to DB25 Relay Circuit Board
2x
MEMSDuino
https://www.amazon.com/ZYAMY-Dupont-Connector-Multicolor-Breadboard/dp/B0789F2Y1T/

## Slide 63: Assembly with cables
MEMSDuino

## Slide 64: Control Panel Circuit Board
Lafe Spietz
NIST
2024
MEMSDuino

## Slide 65
MEMSDuino
Abstract
This is the control panel, where a human operator pushes buttons to set the state of the switch and can see indicator lights which display the state of the switch. Indicator lights are programmable RGB LED’s and buttons connect an analog pin on the Arduino to a resistor ladder.

## Slide 66: Order Circuit Boards
https://github.com/lafefspietz/MEMSduino/raw/main/PCB_files/9button-9neopixel-gerbers.zip
https://www.pcbway.com/
9button-9neopixel
MEMSDuino
228.6 x88.9 mm size
Black solder mask
White silkscreen
1.6mm FR4

## Slide 67: Order Components
https://www.amazon.com/ZYAMY-Dupont-Connector-Multicolor-Breadboard/dp/B0789F523N/
https://www.digikey.com/en/products/detail/yageo/MFR-25FBF52-10K/13219
https://www.adafruit.com/product/1559
https://www.digikey.com/en/products/detail/e-switch/TL59NF160Q/390533
4 Wire Header cable, 6” long x1
NeoPixel RGB programmable LED x9
10 kOhm axial resistor x9
Button x9
MEMSDuino

## Slide 68
MEMSDuino
Assembly

## Slide 69: Backside Detail of cable connection
MEMSDuino

## Slide 70: Dimensioned Drawing
MEMSDuino

## Slide 71
Button Ladder Schematic
Buttons connect analog line A4 on the Arduino to different nodes in a ladder of resistors which spans from 5 volts to a node just above ground. The analog line has a 100k pull down resistor on the Arduino Shield Circuit Board.
MEMSDuino

## Slide 72
PCB Layout
Created in Altium Designer
MEMSDuino

## Slide 73
MEMSDuino
Conclusions:
This board should get either replaced by or integrated into panels like the ones from frontpanelexpress.com for a more professional finish. These are cheaper and easier to rapid prototype, however.

## Slide 74: SP6T Control System
Lafe Spietz
NIST
2024
MEMSDuino

## Slide 75
MEMSDuino
Abstract
This circuit board

## Slide 76
https://www.cryoelec.com/products/cryoswitchsp6t

## Slide 79: Order Components
https://www.amazon.com/ZYAMY-Dupont-Connector-Multicolor-Breadboard/dp/B0789F523N/
https://www.digikey.com/en/products/detail/yageo/MFR-25FBF52-10K/13219
https://www.adafruit.com/product/1559
https://www.digikey.com/en/products/detail/e-switch/TL59NF160Q/390533
4 Wire Header cable, 6” long x1
NeoPixel RGB programmable LED x6
10 kOhm axial resistor x6
Button x6
MEMSDuino

## Slide 81
MEMSDuino

## Slide 82
MEMSDuino
Conclusions:

## Slide 83: SP8T + SOL System
Lafe Spietz
NIST
2024
MEMSDuino

## Slide 84
MEMSDuino
Abstract
This is a phase matched switch from a common RF port to 8 RF ports. There are three levels of switches, the bottom of which exists only to increase isolation, and the top of which has a short, an open, and a load for SOL calibration.

## Slide 86: S.O.L.

## Slide 89: Order Components
https://www.amazon.com/ZYAMY-Dupont-Connector-Multicolor-Breadboard/dp/B0789F523N/
https://www.digikey.com/en/products/detail/yageo/MFR-25FBF52-10K/13219
https://www.adafruit.com/product/1559
https://www.digikey.com/en/products/detail/e-switch/TL59NF160Q/390533
4 Wire Header cable, 6” long x2
NeoPixel RGB programmable LED x6
10 kOhm axial resistor x6
Button x6
MEMSDuino

## Slide 90
MEMSDuino
Conclusions:

## Slide 91: Micro D to Header Adapter Board Build
Lafe Spietz
NIST
2024
MEMSDuino

## Slide 92
MEMSDuino
Abstract
This circuit board breaks out the MicroD found at the base of many dilution refrigerators into a set of up to 20 lines, each broken out in a pair of identical 4 pin header outputs. Labels are specific to our switch matrix at NIST, but can be adapted to any switch with 20 or fewer lines.

## Slide 93: Parts
https://www.digikey.com/en/products/detail/itt-cannon,-llc/M83513%2F25-D01CP/4803943
https://www.amazon.com/Header-Lystaii-Pin-Connector-Electronic/dp/B06ZZN8L9S/
0.1” headers, 40 pin strips x1
M83513/25-D01CP x1
MEMSDuino

## Slide 94
66 x 44 mm size
Black solder mask
White silkscreen
1.6mm FR4
https://github.com/lafefspietz/MEMSduino/raw/main/PCB_files/microd-header-adapter-board-rev2-gerbers.zip
MEMSDuino

## Slide 95: Header breakaways: 4 pin x8
MEMSDuino

## Slide 96: Cut off the screws with a cutting wheel:
MEMSDuino

## Slide 97
MEMSDuino

## Slide 98: Mechanical Drawing
MEMSDuino

## Slide 99: Altium Designer Files
https://github.com/lafefspietz/MEMSduino/raw/main/PCB_files/microd-header-adapter-board-rev2.PcbDoc
https://github.com/lafefspietz/MEMSduino/raw/main/PCB_files/microd-header-adapter-board-rev2.SchDoc
https://github.com/lafefspietz/MEMSduino/raw/main/PCB_files/microd-header-adapter-board-rev2.PrjPcb
MEMSDuino

## Slide 100
MEMSDuino
Conclusions:
Note that pins 13 and 12 connect to ground. This might not be ideal in certain circumstances. We have broken ground at room temperature and use the metal in the dilution refrigerator for the ground now. This board will almost certainly be different from what other users will want. This example drives all 4 control lines of 4 MEMS switches.

## Slide 101: Cryogenic Mounting Hardware
Lafe Spietz
NIST
2024
MEMSDuino

## Slide 102
H Bracket
T Stand
Outer Block
Center Block
MEMS Switch Board
MicroD Board
MEMS Switch Board
https://www.mcmaster.com/92700A103/
https://www.mcmaster.com/93465A106/
https://www.mcmaster.com/92700A466/
8X
6X
4X
MEMSDuino

## Slide 103
MEMSDuino
H Bracket

## Slide 104
MEMSDuino
T Stand

## Slide 105
MEMSDuino
Outer Block

## Slide 106
MEMSDuino
Center Block

## Slide 107
¼” 4-40
Inset Screws
MEMSDuino

## Slide 108: SP9T Cryogenic Switch Board
Lafe Spietz
NIST
2024
MEMSDuino

## Slide 109
MEMSDuino
Abstract
This circuit board

## Slide 110: Parts
https://www.digikey.com/en/products/detail/rosenberger/19S201-40ML5/7926834
https://www.amazon.com/Header-Lystaii-Pin-Connector-Electronic/dp/B06ZZN8L9S/
0.1” headers, 40 pin strips x1
Rosenberger 19S201-40ML5 SMP Surface Mount Connector X9
MEMSDuino
https://www.mouser.com/ProductDetail/Menlo-Micro/MM5130-03NDB-TR?qs=T%252BzbugeAwjibhPiaJVpzHA%3D%3D
Menlo Microwave
MM5130-03NDB-TR
https://www.digikey.com/en/products/detail/te-connectivity-passive-product/CPF0201B56K2E1/14007085
TE Connectivity CPF0201B56K2E1 56 Kohm 0201 surface mount resistor, NiCr

## Slide 111
MEMSDuino

## Slide 112
IN/OUT
9
1
2
3
4
5
6
7
8
U3
U4
U3
U2

## Slide 116
MEMSDuino

## Slide 117
MEMSDuino

## Slide 118: Mechanical Drawing
MEMSDuino

## Slide 119
MEMSDuino
Conclusions:

## Slide 120: Calibration Circuit Boards
Lafe Spietz
NIST
2024
MEMSDuino

## Slide 121
MEMSDuino
Abstract
These circuit boards connect between the two SP9T switch boards.

## Slide 122: Parts
https://www.amazon.com/Header-Lystaii-Pin-Connector-Electronic/dp/B06ZZN8L9S/
0.1” headers, 40 pin strips x1
MEMSDuino
https://www.digikey.com/en/products/detail/rosenberger/19S141-40ML5/7926829
Rosenberger Smooth Bore SMP 19S141-40ML5
TE Connectivity
49.9 Ohm 0201 NiCr Resistor CPF0201B49R9E1
https://www.digikey.com/en/products/detail/te-connectivity-passive-product/CPF0201B49R9E1/14007284
https://www.mouser.com/ProductDetail/Amphenol-RF/SMP-FS2A-645?qs=u16ybLDytRZu9pNzWfGeSw%3D%3D
Amphenol SMP-FS2A-645
F-F SMP Bullet

## Slide 123
MEMSDuino
Short
Open
Load
Through
10 mm Chip

## Slide 124
MEMSDuino

## Slide 125
https://www.digikey.com/en/products/detail/rosenberger/19S141-40ML5/7926829
Rosenberger Smooth Bore SMP 19S141-40ML5

## Slide 126
https://www.mouser.com/ProductDetail/Amphenol-RF/SMP-FS2A-645?qs=u16ybLDytRZu9pNzWfGeSw%3D%3D
Amphenol SMP-FS2A-645
F-F SMP Bullet

## Slide 127
MEMSDuino
TE Connectivity
49.9 Ohm 0201 NiCr Resistor CPF0201B49R9E1
https://www.digikey.com/en/products/detail/te-connectivity-passive-product/CPF0201B49R9E1/14007284

## Slide 128: Mechanical Drawing
MEMSDuino

## Slide 129
MEMSDuino
Conclusions:
Note that pins 13 and 12 connect to ground. This might not be ideal in certain circumstances. We have broken ground at room temperature and use the metal in the dilution refrigerator for the ground now. This board will almost certainly be different from what other users will want. This example drives all 4 control lines of 4 MEMS switches.