## Slide 1: Custom Metal Box
Lafe Spietz
NIST
2024
MEMSDuino

## Slide 2
MEMSDuino
Abstract
This is a custom metal box which contains the relay board that connects 90 volts to selected pins on a Dsub connector in the lid. The base of the box is attached to a wood board by 4 screws, and the 90 volt boost board is attached to the inside by means of a bracket screwed to the box. This box fully encloses the 90 volts at room temperature for safety.

## Slide 3
MEMSDuino
X6
X4
X2
12V to 90 V Boost
HV-DCDC-bracket
¼” 4-40 screws
¾” 4-40 screws
#40 washers
Bud AN-1304-A Diecast Aluminum Box
7/32” 4-40 standoff
Rack Mount Wood Board

## Slide 4
MEMSDuino
Modify or buy already-modified AN-1304-A box as follows:

## Slide 5
MEMSDuino
Modify or buy already-modified AN-1304-A lid as follows:

## Slide 6
MEMSDuino
Screw DB25 Connector to lid using 7/32” 4-40 standoffs:

## Slide 7
MEMSDuino
Add polyimide tape to lid to prevent possible shorts

## Slide 8
MEMSDuino
Solder already-assembled DB25 relay circuit board to DB25 connector, adding some space deliberately along the pins

## Slide 9
X6
MEMSDuino
Use 4-40 screws to assemble the DCDC HV mounting bracket to the box, and the high voltage boost board to the bracket

## Slide 10
X4
MEMSDuino
Use ¾” 4-40 screws to attach the main box to the wood board, with washers for each screw:
Be sure to orient box so that hole for cables points towards Arduino.

## Slide 11
MEMSDuino
Assemble cables, matching red wire to lowest pin number on both ends, being careful to keep track of which 8 pin cable is which.

## Slide 12
MEMSDuino
Conclusions:
The captive circuit board is not ideal, and a better design might make this slightly mor modular. It would also be useful if someone were to get these made in some volume and sold fully machined.