## Slide 1: DB25 Relay Circuit Baord
Lafe Spietz
NIST
2024
MEMSDuino

## Slide 2
MEMSDuino
Abstract
This board uses electromechanical relays to connect the 90 volt line with any of 20 pins on a DB25 (25 pin DSUB) board mount connector which is in the lid of the custom metal box. In the 9 way switch, 16 of these lines are actually used.

## Slide 3: Order Components
https://www.digikey.com/en/products/detail/comus-international/3570-1331-053/7497099
https://www.digikey.com/en/products/detail/yageo/RC1206FR-071ML/728388
MEMSDuino
1 Mohm resistor 1206 SMT package
5 V relay
https://www.digikey.com/en/products/detail/assmann-wsw-components/A-DF-25-PP-Z/1241794
DB 25 Board Mount Connector
https://www.amazon.com/Header-Lystaii-Pin-Connector-Electronic/dp/B06ZZN8L9S/
0.1” headers, 40 pin strips x1

## Slide 4: Order Circuit Boards
78.74 x 71.12 mm
(3.1 x 2.8 in) size
Black solder mask
White silkscreen
1.6mm FR4
https://github.com/lafefspietz/MEMSduino/raw/main/PCB_files/DB25-relay-HV-control-gerbers.zip
MEMSDuino
https://www.pcbway.com

## Slide 5: Assemble Kit
MEMSDuino

## Slide 6: Lift board up when soldering to increase clearance
MEMSDuino

## Slide 7: Assembly
MEMSDuino

## Slide 8
MEMSDuino

## Slide 9
MEMSDuino

## Slide 10: Adding polyimide tape to the lid
Prevent potential shorts
This must be assembled before the circuit board is soldered to the DB25 connector!
MEMSDuino

## Slide 11: Relay
https://www.digikey.com/en/products/detail/comus-international/3570-1331-053/7497099
MEMSDuino

## Slide 12
MEMSDuino
Conclusions:
The fact that the DB25 connector causes the whole board to be captive is not ideal. An improvement would be some kind of socket and cable alternative which can be unplugged. There are a number of ways this might be done.