## Slide 1
Rack mount wood board
  Drawing
  Bill of materials
  Assembly photo sequence
  List of tools and consumables
  Step by step instructions

## Slide 2: Rack Mount Wood Board
Lafe Spietz
NIST
2024
MEMSDuino

## Slide 4: Slightly more than 2U Blank Rack Panel

## Slide 5: Drill bits to use
1/16” bit: pilot holes and holes for wood screws.
1/8” bit: through holes for 4-40 screws
7/32” for 10-32 thumb screw clearance holes
5/32” to mill out slot for 4 wire header cable

## Slide 6: 4”x24”x0.5” White Oak Boards
https://ocoochhardwoods.com/detail/?i=124wo

## Slide 7: Knurled Brass Thumb Screws to Mount in Panel
https://www.mcmaster.com/92421A645/

## Slide 8: Rack Mount Nuts
https://www.mouser.com/ProductDetail/Hammond-Manufacturing/1421NP25?qs=yc9RBI4tIALvGirsWAVfbg%3D%3D

## Slide 9: Wood screws
https://www.mcmaster.com/98685A540/

## Slide 10: 4-40 Brass screws and washers
https://www.mcmaster.com/93465A113/
https://www.mcmaster.com/92916A320/

## Slide 11: Cut board off at 19 inches

## Slide 12: Sand or file edges

## Slide 13: Print Templates And use for Hole Punches

## Slide 14: Punch hole locations with sharp object

## Slide 15: Drill pattern in center of board
1/8”
1/16”
1/16”

## Slide 16: Rack, nut and thumb screw detail

## Slide 18: Hand-drilled cutout for 4 pin connector

## Slide 19: Full assembly with Bud Box and 3d printed parts

## Slide 20: Custom Metal Box
Lafe Spietz
NIST
2024
MEMSDuino

## Slide 21
MEMSDuino
Abstract
This is a custom metal box which contains the relay board that connects 90 volts to selected pins on a Dsub connector in the lid. The base of the box is attached to a wood board by 4 screws, and the 90 volt boost board is attached to the inside by means of a bracket screwed to the box. This box fully encloses the 90 volts at room temperature for safety.

## Slide 22
MEMSDuino
X6
X4
X2
12V to 90 V Boost
HV-DCDC-bracket
¼” 4-40 screws
¾” 4-40 screws
#40 washers
Bud AN-1304-A Diecast Aluminum Box
7/32” 4-40 standoff
Rack Mount Wood Board

## Slide 23
MEMSDuino
Modify or buy already-modified AN-1304-A box as follows:

## Slide 24
MEMSDuino
Modify or buy already-modified AN-1304-A lid as follows:

## Slide 25
MEMSDuino
Screw DB25 Connector to lid using 7/32” 4-40 standoffs:

## Slide 26
MEMSDuino
Add polyimide tape to lid to prevent possible shorts

## Slide 27
MEMSDuino
Solder already-assembled DB25 relay circuit board to DB25 connector, adding some space deliberately along the pins

## Slide 28
X6
MEMSDuino
Use 4-40 screws to assemble the DCDC HV mounting bracket to the box, and the high voltage boost board to the bracket

## Slide 29
X4
MEMSDuino
Use ¾” 4-40 screws to attach the main box to the wood board, with washers for each screw:
Be sure to orient box so that hole for cables points towards Arduino.

## Slide 30
MEMSDuino
Assemble cables, matching red wire to lowest pin number on both ends, being careful to keep track of which 8 pin cable is which.

## Slide 31
MEMSDuino
Conclusions:
The captive circuit board is not ideal, and a better design might make this slightly mor modular. It would also be useful if someone were to get these made in some volume and sold fully machined.

## Slide 32: 5V to 90V Boost
Lafe Spietz
NIST
2024
MEMSDuino

## Slide 33: Bill of Materials
https://www.amazon.com/Voltage-Converter-Vintage-Indicator-80V-380V/dp/B09D93QNYK
https://www.amazon.com/DROK-Boost-Converter-Regulator-Length/dp/B09M3LMSS3/
https://www.amazon.com/ZYAMY-Dupont-Connector-Multicolor-Breadboard/dp/B0B8Z23NWX/
MEMSDuino

## Slide 34: Tools and Consumables
MEMSDuino

## Slide 35: 90 Volt to DB25 Relay Board Cable Assembly
MEMSDuino

## Slide 36: 5V to 12 V Cable Assembly
MEMSDuino

## Slide 37: Setting the voltage output to 90V
MEMSDuino

## Slide 38: Arduino UNO Shield Connection
5V to Boost
MEMSDuino

## Slide 39: 3D Printed Parts
Lafe Spietz
NIST
Summer 2024

## Slide 40: Full Set of Parts
front-panel-edge-bracket.STL
front-panel-center-bracket.STL
arduino-bracket.STL
HV-DCDC-bracket.STL

## Slide 41: Print times and filament masses
arduino-bracket.STL: 4 grams, 18 minutes, print 1
HV-DCDC-bracket.STL: 4 grams, 14 minutes, print 1
front-panel-center-bracket.STL: 1 gram/each, 7 minutes/each, print 2
front-panel-edge-bracket.STL: 4 grams/each 14 minutes/each, print 2
Total filament mass: 18 g
Total print time: 77 minutes

## Slide 43: 4-40 Thread Inserts
Insert with soldering iron, in a press if available

## Slide 44: DB25 Relay Circuit Board
Lafe Spietz
NIST
2024
MEMSDuino

## Slide 45
MEMSDuino
Abstract
This board uses electromechanical relays to connect the 90 volt line with any of 20 pins on a DB25 (25 pin DSUB) board mount connector which is in the lid of the custom metal box. In the 9 way switch, 16 of these lines are actually used.

## Slide 46: Order Components
https://www.digikey.com/en/products/detail/comus-international/3570-1331-053/7497099
https://www.digikey.com/en/products/detail/yageo/RC1206FR-071ML/728388
MEMSDuino
1 Mohm resistor 1206 SMT package
5 V relay
https://www.digikey.com/en/products/detail/assmann-wsw-components/A-DF-25-PP-Z/1241794
DB 25 Board Mount Connector
https://www.amazon.com/Header-Lystaii-Pin-Connector-Electronic/dp/B06ZZN8L9S/
0.1” headers, 40 pin strips x1

## Slide 47: Order Circuit Boards
78.74 x 71.12 mm
(3.1 x 2.8 in) size
Black solder mask
White silkscreen
1.6mm FR4
https://github.com/lafefspietz/MEMSduino/raw/main/PCB_files/DB25-relay-HV-control-gerbers.zip
MEMSDuino
https://www.pcbway.com

## Slide 48: Assemble Kit
MEMSDuino

## Slide 49: Lift board up when soldering to increase clearance
MEMSDuino

## Slide 50: Assembly
MEMSDuino

## Slide 51
MEMSDuino

## Slide 52
MEMSDuino

## Slide 53: Adding polyimide tape to the lid
Prevent potential shorts
This must be assembled before the circuit board is soldered to the DB25 connector!
MEMSDuino

## Slide 54: Relay
https://www.digikey.com/en/products/detail/comus-international/3570-1331-053/7497099
MEMSDuino

## Slide 55
MEMSDuino
Conclusions:
The fact that the DB25 connector causes the whole board to be captive is not ideal. An improvement would be some kind of socket and cable alternative which can be unplugged. There are a number of ways this might be done.

## Slide 56: Arduino Shield Circuit Board
Lafe Spietz
NIST
2024
MEMSDuino

## Slide 57: Order Custom Circuit Boards
MEMSDuino
https://github.com/lafefspietz/MEMSduino/raw/main/PCB_files/arduino-to-headers-shield-gerbers.zip
71.12 x 53.34 mm (2.1” x 2.8”) size
Black solder mask
White silkscreen
1.6mm FR4
https://www.pcbway.com

## Slide 58
MEMSDuino
https://www.digikey.com/en/products/detail/rubycon/16PK1000MEFC10X12-5/3563556
https://www.digikey.com/en/products/detail/stackpole-electronics-inc/CF18JT330R/1741683
https://www.digikey.com/en/products/detail/stackpole-electronics-inc/RNF14FTD100K/1706591
https://www.amazon.com/Header-Lystaii-Pin-Connector-Electronic/dp/B06ZZN8L9S/
100 kOhm resistor x1
330 Ohm resistor x1
1000 uF Capacitor x1
0.1” headers, 40 pin strips x2

## Slide 59: Break off strips to correct lengths:
MEMSDuino

## Slide 60: Assembly
MEMSDuino

## Slide 61: 0.1” Header Cables: 8 pin, 6” long to connect to DB25 Relay Circuit Board
2x
MEMSDuino
https://www.amazon.com/ZYAMY-Dupont-Connector-Multicolor-Breadboard/dp/B0789F2Y1T/

## Slide 64: Assembly with cables
MEMSDuino

## Slide 65: Control Panel Circuit Board
Lafe Spietz
NIST
2024
MEMSDuino

## Slide 66
MEMSDuino
Abstract
This is the control panel, where a human operator pushes buttons to set the state of the switch and can see indicator lights which display the state of the switch. Indicator lights are programmable RGB LED’s and buttons connect an analog pin on the Arduino to a resistor ladder.

## Slide 67: Order Circuit Boards
https://github.com/lafefspietz/MEMSduino/raw/main/PCB_files/9button-9neopixel-gerbers.zip
https://www.pcbway.com/
9button-9neopixel
MEMSDuino
228.6 x88.9 mm size
Black solder mask
White silkscreen
1.6mm FR4

## Slide 68: Order Components
https://www.amazon.com/ZYAMY-Dupont-Connector-Multicolor-Breadboard/dp/B0789F523N/
https://www.digikey.com/en/products/detail/yageo/MFR-25FBF52-10K/13219
https://www.adafruit.com/product/1559
https://www.digikey.com/en/products/detail/e-switch/TL59NF160Q/390533
4 Wire Header cable, 6” long x1
NeoPixel RGB programmable LED x9
10 kOhm axial resistor x9
Button x9
MEMSDuino

## Slide 69
MEMSDuino
Assembly

## Slide 70: Backside Detail of cable connection
MEMSDuino

## Slide 71: Dimensioned Drawing
MEMSDuino

## Slide 72
Button Ladder Schematic
Buttons connect analog line A4 on the Arduino to different nodes in a ladder of resistors which spans from 5 volts to a node just above ground. The analog line has a 100k pull down resistor on the Arduino Shield Circuit Board.
MEMSDuino

## Slide 73
PCB Layout
Created in Altium Designer
MEMSDuino

## Slide 74
MEMSDuino
Conclusions:
This board should get either replaced by or integrated into panels like the ones from frontpanelexpress.com for a more professional finish. These are cheaper and easier to rapid prototype, however.

## Slide 75: SP6T Control System
Lafe Spietz
NIST
2024
MEMSDuino

## Slide 76
MEMSDuino
Abstract
This circuit board

## Slide 77: Rack Mount Controller

## Slide 78
https://www.cryoelec.com/products/cryoswitchsp6t

## Slide 81: Order Components
https://www.amazon.com/ZYAMY-Dupont-Connector-Multicolor-Breadboard/dp/B0789F523N/
https://www.digikey.com/en/products/detail/yageo/MFR-25FBF52-10K/13219
https://www.adafruit.com/product/1559
https://www.digikey.com/en/products/detail/e-switch/TL59NF160Q/390533
4 Wire Header cable, 6” long x1
NeoPixel RGB programmable LED x6
10 kOhm axial resistor x6
Button x6
MEMSDuino

## Slide 83
MEMSDuino

## Slide 84
MEMSDuino
Conclusions:

## Slide 85: SP8T + SOL System
Lafe Spietz
NIST
2024
MEMSDuino

## Slide 86
MEMSDuino
Abstract
This is a phase matched switch from a common RF port to 8 RF ports. There are three levels of switches, the bottom of which exists only to increase isolation, and the top of which has a short, an open, and a load for SOL calibration.

## Slide 88: Rack Mount Controller

## Slide 91: Order Components
https://www.amazon.com/ZYAMY-Dupont-Connector-Multicolor-Breadboard/dp/B0789F523N/
https://www.digikey.com/en/products/detail/yageo/MFR-25FBF52-10K/13219
https://www.adafruit.com/product/1559
https://www.digikey.com/en/products/detail/e-switch/TL59NF160Q/390533
4 Wire Header cable, 6” long x2
NeoPixel RGB programmable LED x6
10 kOhm axial resistor x6
Button x6
MEMSDuino

## Slide 92
MEMSDuino
Conclusions:

## Slide 93: Micro D to Header Adapter Board Build
Lafe Spietz
NIST
2024
MEMSDuino

## Slide 94
MEMSDuino
Abstract
This circuit board breaks out the MicroD found at the base of many dilution refrigerators into a set of up to 20 lines, each broken out in a pair of identical 4 pin header outputs. Labels are specific to our switch matrix at NIST, but can be adapted to any switch with 20 or fewer lines.

## Slide 95: Parts
https://www.digikey.com/en/products/detail/itt-cannon,-llc/M83513%2F25-D01CP/4803943
https://www.amazon.com/Header-Lystaii-Pin-Connector-Electronic/dp/B06ZZN8L9S/
0.1” headers, 40 pin strips x1
M83513/25-D01CP x1
MEMSDuino

## Slide 96
66 x 44 mm size
Black solder mask
White silkscreen
1.6mm FR4
https://github.com/lafefspietz/MEMSduino/raw/main/PCB_files/microd-header-adapter-board-rev2-gerbers.zip
MEMSDuino

## Slide 97: Header breakaways: 4 pin x8
MEMSDuino

## Slide 98: Cut off the screws with a cutting wheel:
MEMSDuino

## Slide 99
MEMSDuino

## Slide 100: Mechanical Drawing
MEMSDuino

## Slide 101: Altium Designer Files
https://github.com/lafefspietz/MEMSduino/raw/main/PCB_files/microd-header-adapter-board-rev2.PcbDoc
https://github.com/lafefspietz/MEMSduino/raw/main/PCB_files/microd-header-adapter-board-rev2.SchDoc
https://github.com/lafefspietz/MEMSduino/raw/main/PCB_files/microd-header-adapter-board-rev2.PrjPcb
MEMSDuino

## Slide 102
MEMSDuino
Conclusions:
Note that pins 13 and 12 connect to ground. This might not be ideal in certain circumstances. We have broken ground at room temperature and use the metal in the dilution refrigerator for the ground now. This board will almost certainly be different from what other users will want. This example drives all 4 control lines of 4 MEMS switches.

## Slide 103: Cryogenic Mounting Hardware
Lafe Spietz
NIST
2024
MEMSDuino

## Slide 104
H Bracket
T Stand
Outer Block
Center Block
MEMS Switch Board
MicroD Board
MEMS Switch Board
https://www.mcmaster.com/92700A103/
https://www.mcmaster.com/93465A106/
https://www.mcmaster.com/92700A466/
8X
6X
4X
MEMSDuino

## Slide 105
MEMSDuino
H Bracket

## Slide 106
MEMSDuino
T Stand

## Slide 107
MEMSDuino
Outer Block

## Slide 108
MEMSDuino
Center Block

## Slide 109
¼” 4-40
Inset Screws
MEMSDuino

## Slide 110: SP9T Cryogenic Switch Board
Lafe Spietz
NIST
2024
MEMSDuino

## Slide 111
MEMSDuino
Abstract
This circuit board

## Slide 112: Parts
https://www.digikey.com/en/products/detail/rosenberger/19S201-40ML5/7926834
https://www.amazon.com/Header-Lystaii-Pin-Connector-Electronic/dp/B06ZZN8L9S/
0.1” headers, 40 pin strips x1
Rosenberger 19S201-40ML5 SMP Surface Mount Connector X9
MEMSDuino
https://www.mouser.com/ProductDetail/Menlo-Micro/MM5130-03NDB-TR?qs=T%252BzbugeAwjibhPiaJVpzHA%3D%3D
Menlo Microwave
MM5130-03NDB-TR
https://www.digikey.com/en/products/detail/te-connectivity-passive-product/CPF0201B56K2E1/14007085
TE Connectivity CPF0201B56K2E1 56 Kohm 0201 surface mount resistor, NiCr

## Slide 113
MEMSDuino

## Slide 114
IN/OUT
9
1
2
3
4
5
6
7
8
U3
U4
U3
U2

## Slide 118
MEMSDuino

## Slide 119
MEMSDuino

## Slide 120: Mechanical Drawing
MEMSDuino

## Slide 121
MEMSDuino
Conclusions:

## Slide 122: Calibration Circuit Boards
Lafe Spietz
NIST
2024
MEMSDuino

## Slide 123
MEMSDuino
Abstract
These circuit boards connect between the two SP9T switch boards.

## Slide 124: Parts
https://www.amazon.com/Header-Lystaii-Pin-Connector-Electronic/dp/B06ZZN8L9S/
0.1” headers, 40 pin strips x1
MEMSDuino
https://www.digikey.com/en/products/detail/rosenberger/19S141-40ML5/7926829
Rosenberger Smooth Bore SMP 19S141-40ML5
TE Connectivity
49.9 Ohm 0201 NiCr Resistor CPF0201B49R9E1
https://www.digikey.com/en/products/detail/te-connectivity-passive-product/CPF0201B49R9E1/14007284
https://www.mouser.com/ProductDetail/Amphenol-RF/SMP-FS2A-645?qs=u16ybLDytRZu9pNzWfGeSw%3D%3D
Amphenol SMP-FS2A-645
F-F SMP Bullet

## Slide 125
MEMSDuino
Short
Open
Load
Through
10 mm Chip

## Slide 126
MEMSDuino

## Slide 127
https://www.digikey.com/en/products/detail/rosenberger/19S141-40ML5/7926829
Rosenberger Smooth Bore SMP 19S141-40ML5

## Slide 128
https://www.mouser.com/ProductDetail/Amphenol-RF/SMP-FS2A-645?qs=u16ybLDytRZu9pNzWfGeSw%3D%3D
Amphenol SMP-FS2A-645
F-F SMP Bullet

## Slide 129
MEMSDuino
TE Connectivity
49.9 Ohm 0201 NiCr Resistor CPF0201B49R9E1
https://www.digikey.com/en/products/detail/te-connectivity-passive-product/CPF0201B49R9E1/14007284

## Slide 130: Mechanical Drawing
MEMSDuino

## Slide 131
MEMSDuino
Conclusions:
Note that pins 13 and 12 connect to ground. This might not be ideal in certain circumstances. We have broken ground at room temperature and use the metal in the dilution refrigerator for the ground now. This board will almost certainly be different from what other users will want. This example drives all 4 control lines of 4 MEMS switches.